## Parts Catalog
Category | UPC | Part ID# | DESCRIPTION | RETAIL | HRS | COST
Boxes & Enclosures | 3448100620 |  | 3"Round Nailer Box,Plastic | 5.33 | 0.15 | 3.33
Boxes & Enclosures | 3448100619 | 3 | 4"Round Nailer Box,Plastic | 1.71 | 0.15 | 1.07
Boxes & Enclosures | 3448110085 | 4 | 4"Round Box,Plastic w/Bar Hanger | 3.6 | 0.17 | 2.25
Boxes & Enclosures | 3448110025 | 5 | 1 Gang Nailer Box,Plastic | 0.47 | 0.12 | 0.26
Boxes & Enclosures | 3448110030 | 6 | 2 Gang Nailer Box,Plastic | 1.69 | 0.15 | 0.94
Boxes & Enclosures | 3448118908 | 7 | 3 Gang Nailer Box,Plastic | 2.16 | 0.17 | 1.35
Boxes & Enclosures | 3448102061 | 8 | 4 Gang Nailer Box,Plastic | 5.04 | 0.2 | 3.15
Boxes & Enclosures | 3448107435 | 9 | Handy Box,Plastic | 5.52 | 0.12 | 3.45
Boxes & Enclosures | 3448101263 | 10 | 4"Square Box,Plastic w/Bracket | 8.27 | 0.15 | 5.17
Boxes & Enclosures | 3448100610 | 11 | 1 Gang Cut-In Box,Plastic | 2.3 | 0.25 | 1.44
Boxes & Enclosures | 3448100615 | 12 | 2 Gang Cut-In Box,Plastic | 4.32 | 0.3 | 2.7
Boxes & Enclosures | 3448100623 | 13 | 3"Round Cut-In Box,Plastic | 2.91 | 0.25 | 1.82
Boxes & Enclosures | 3448100623 | 14 | 4"Round Cut-In Box,Plastic | 2.91 | 0.25 | 1.82
Boxes & Enclosures | 68785576150 | 15 | 1 Gang Cut-In Box,Gangable,Stl | 3.09 | 0.35 | 1.93
Boxes & Enclosures | 68785574935 | 16 | Handy Box,1-7/8"Deep,Stl,1/2KO | 1.57 | 0.12 | 0.87
Boxes & Enclosures | 68785575290 | 17 | Handy Box,2-1/8"Deep,Stl,1/2KO | 4.61 | 0.12 | 2.88
Boxes & Enclosures | 68785574950 | 18 | Handy Box,Stl w/Bracket | 5.41 | 0.12 | 3.38
Boxes & Enclosures | 68785575305 | 19 | Handy Box Extension | 2.78 | 0.06 | 1.74
Boxes & Enclosures | 68785575475 | 20 | 4"Octagon Box,1-1/2"Deep,Stl | 1.79 | 0.15 | 1.12
Boxes & Enclosures | 68785575025 | 21 | 4"Octagon Box,2-1/8"Deep,Stl | 2.74 | 0.15 | 1.71
Boxes & Enclosures | 68785575480 | 22 | 4"Octagon Box,Stl w/Bracket | 5.57 | 0.15 | 3.48
Boxes & Enclosures | 68785575030 | 23 | 4"Octagon Extension,Stl,1/2KO | 2.3 | 0.06 | 1.44
Boxes & Enclosures | 68785575050 | 24 | 4"Octagon Extension,Stl,1/2&3/4KO | 3.25 | 0.06 | 2.03
Boxes & Enclosures | 78599116000 | 25 | 3"Octagon Box,Stl | 5.01 | 0.15 | 3.13
Boxes & Enclosures | 78172000102 | 26 | 3"Octagon Box,Stl w/Bracket | 15.42 | 0.15 | 9.64
Boxes & Enclosures | 78599116053 | 27 | 3"Octagon Extension,Stl | 8.93 | 0.06 | 5.58
Boxes & Enclosures | 68785562764 | 28 | 3"Round Pancake Box,1/2"Deep,Stl | 4.14 | 0.12 | 2.59
Boxes & Enclosures | 68785574930 | 29 | 4"Round Pancake Box,1/2"Deep,Stl | 3.04 | 0.12 | 1.9
Boxes & Enclosures | 78138133702 | 30 | Swivel Hanger,4"Octagon,1/2"Hub | 30.32 | 0.06 | 18.95
Boxes & Enclosures | 78138133701 | 31 | Swivel Hanger,4"Octagon,3/4"Hub | 32.96 | 0.06 | 20.6
Boxes & Enclosures | 78172004181 | 32 | 1 Gang Switch Box w/Brkt,Stl | 6.32 | 0.15 | 3.95
Boxes & Enclosures | 68785500156 | 33 | 2 Gang Switch Box w/Brkt,Stl | 15.33 | 0.15 | 9.58
Boxes & Enclosures | 68785500162 | 34 | 3 Gang Switch Box w/Brkt,Stl | 45.9 | 0.15 | 28.69
Boxes & Enclosures | 68785500163 | 35 | 4 Gang Box w/Switch Ring,Stl | 74.66 | 0.15 | 46.66
Boxes & Enclosures | 68785500164 | 36 | 5 Gang Box w/Switch Ring,Stl | 154.43 | 0.2 | 96.52
Boxes & Enclosures | 68785500165 | 37 | 6 Gang Box w/Switch Ring,Stl | 194.09 | 0.2 | 129.39
Boxes & Enclosures | 68785570317 | 38 | 4"Square Box,1-1/2"Deep | 1.22 | 0.2 | 0.68
Boxes & Enclosures | 68785577126 | 39 | 4"Square Box,2-1/8"Deep | 1.65 | 0.15 | 1.03
Boxes & Enclosures | 68785577127 | 40 | 4"Square Box,w/bracket | 2.59 | 0.13 | 1.62
Boxes & Enclosures | 68785575115 | 41 | 4"Square Box Extension | 2.91 | 0.06 | 1.82
Boxes & Enclosures | 68785577137 | 42 | 4-11/16 Box,1-1/2"Deep,Stl | 5.1 | 0.2 | 3.19
Boxes & Enclosures | 68785577138 | 43 | 4-11/16 Box,2-1/8"Deep,Stl | 2.29 | 0.2 | 1.43
Boxes & Enclosures | 68785577139 | 44 | 4-11/16 Box 2-1/8" deep w/bracket | 24.46 | 0.06 | 15.29
Boxes & Enclosures | 68785546867 | 45 | 4-11/16 Box Extension,2-1/8"Deep | 5.71 | 0.06 | 3.57
Boxes & Enclosures | 68785549265 | 46 | 1 Gang Masonry Wall Box,2-1/2"Deep | 3.65 | 0.15 | 2.28
Boxes & Enclosures | 68785549275 | 47 | 2 Gang Masonry Wall Box,2-1/2"Deep | 6.29 | 0.15 | 3.93
Boxes & Enclosures | 68785549285 | 48 | 3 Gang Masonry Wall Box,2-1/2"Deep | 6.54 | 0.15 | 4.09
Boxes & Enclosures | 68785552326 | 49 | 4 Gang Masonry Wall Box,2-1/2"Deep | 8.8 | 0.23 | 5.5
Boxes & Enclosures | 68785549270 | 50 | 1 Gang Masonry Wall Box,3-1/2"Deep | 3.92 | 0.15 | 2.45
Boxes & Enclosures | 68785549280 | 51 | 2 Gang Masonry Wall Box,3-1/2"Deep | 5.49 | 0.15 | 3.43
Boxes & Enclosures | 68785549300 | 52 | 3 Gang Masonry Wall Box,3-1/2"Deep | 6.86 | 0.15 | 4.29
Boxes & Enclosures | 68785552327 | 53 | 4 Gang Masonry Wall Box,3-1/2"Deep | 21.95 | 0.23 | 13.72
Boxes & Enclosures | 68785564085 | 54 | Octagon Masonry Box,3"Deep | 21.38 | 0.17 | 13.36
Boxes & Enclosures | 68785564095 | 55 | Octagon Masonry Box,4"Deep | 16 | 0.17 | 10
Boxes & Enclosures | 4226939215 | 56 | Raintite Box,3-1/2"Hubs | 4.74 | 0.15 | 2.96
Boxes & Enclosures | 4226939255 | 57 | Raintite Box,4-1/2"Hubs | 6.38 | 0.2 | 3.99
Boxes & Enclosures | 4226939225 | 58 | Raintite Box,3-3/4"Hubs | 5.73 | 0.17 | 3.58
Boxes & Enclosures | 4226939265 | 59 | Raintite Box,4-3/4"Hubs | 6.62 | 0.17 | 4.14
Boxes & Enclosures | 4226939336 | 60 | Raintite Box Extension,No Hubs | 11.54 | 0.15 | 7.21
Boxes & Enclosures | 4226939355 | 61 | Raintite Box Extension,w/Hubs | 33.07 | 0.2 | 20.67
Boxes & Enclosures | 4226981052 | 62 | Raintite 4"White Round Box,1/2"Hubs | 12.02 | 0.25 | 7.51
Boxes & Enclosures | 4226981050 | 63 | Raintite 4"Round Box,1/2"Hubs | 13.44 | 0.25 | 8.4
Boxes & Enclosures | 4226981053 | 64 | Raintite 4"Round Box,3/4"Hubs | 17.33 | 0.25 | 10.83
Boxes & Enclosures | 4226939418 | 65 | Raintite 2 Gang Box,3-1/2"Hubs | 12.16 | 0.2 | 7.6
Boxes & Enclosures | 4226939426 | 66 | Raintite 2 Gang Box,4-1/2"Hubs | 14.9 | 0.2 | 9.31
Boxes & Enclosures | 4226939394 | 67 | Raintite 2 Gang Box,5-1/2"Hubs | 28.61 | 0.2 | 17.88
Boxes & Enclosures | 4226939422 | 68 | Raintite 2 Gang Box,3-3/4"Hubs | 13.71 | 0.2 | 8.57
Boxes & Enclosures | 4226939430 | 69 | Raintite 2 Gang Box,4-3/4"Hubs | 15.63 | 0.2 | 9.77
Boxes & Enclosures | 4226939398 | 70 | Raintite 2 Gang Box,5-3/4"Hubs | 21.95 | 0.2 | 13.72
Boxes & Enclosures | 4226939417 | 71 | Raintite 2 Gang Extension,No Hubs | 12.35 | 0.2 | 7.72
Boxes & Enclosures | 78227440550 | 72 | FS Box,1 Gang,One 1/2"Hub | 22.19 | 0.3 | 13.87
Boxes & Enclosures | 78227440590 | 73 | FS Box,1 Gang,One 3/4"Hub | 22.69 | 0.3 | 14.18
Boxes & Enclosures | 78227441030 | 74 | FSC Box,1 Gang,Two 1/2"Hub | 23.84 | 0.4 | 14.9
Boxes & Enclosures | 78227441070 | 75 | FSC Box,1 Gang,Two 3/4"Hub | 26.06 | 0.4 | 16.29
Boxes & Enclosures | 78227441860 | 76 | FSL,FSR or FSS Box,1 Gang,Two 1/2"Hub | 27.14 | 0.4 | 16.96
Boxes & Enclosures | 78227441870 | 77 | FSL,FSR or FSS Box,1 Gang,Two 3/4"Hub | 29.66 | 0.4 | 18.54
Boxes & Enclosures | 78227441450 | 78 | FSCC or FSCT Box,1 Gang,Three 1/2"Hub | 33.17 | 0.5 | 20.73
Boxes & Enclosures | 78227441460 | 79 | FSCC or FSCT Box,1 Gang,Three 3/4"Hub | 43.94 | 0.5 | 27.46
Boxes & Enclosures | 78227441470 | 80 | FSCD Box,1 Gang,Four 1/2"Hub | 43.73 | 0.6 | 27.33
Boxes & Enclosures | 78227440640 | 81 | FS Box,2 Gang,One 1/2"Hub | 43.94 | 0.4 | 27.46
Boxes & Enclosures | 78227441120 | 82 | FSC Box,2 Gang,Two 1/2"Hub | 48.86 | 0.4 | 30.54
Boxes & Enclosures | 78227440660 | 83 | FS Box,2 Gang,One 3/4"Hub | 45.22 | 0.4 | 28.26
Boxes & Enclosures | 78227441170 | 84 | FSC Box,2 Gang,Two 3/4"Hub | 51.46 | 0.4 | 32.16
Boxes & Enclosures | 78227441910 | 85 | FSS Box,2 Gang,Two 3/4"Hub | 48.7 | 0.4 | 30.44
Boxes & Enclosures | 78227441520 | 86 | FSD Box,2 Gang,Three 3/4"Hub | 54.3 | 0.5 | 33.94
Boxes & Enclosures | 78599160010 | 87 | Stl Floor Outlet Box,Adjustable | 106.93 | 0.6 | 66.83
Boxes & Enclosures | 78599163039 | 88 | Stl Floor Outlet Cover | 108.72 | 0.15 | 67.95
Boxes & Enclosures | 78599161504 | 89 | Bronze Floor Outlet Box,Adjustable | 240.98 | 0.75 | 160.65
Boxes & Enclosures | 78599163040 | 90 | Bronze Floor Outlet Cover | 115.94 | 0.15 | 72.46
Boxes & Enclosures | 98006006681 | 91 | 4"X4"X2"PVC Junction Box | 10.18 | 0.25 | 6.36
Boxes & Enclosures | 98006006683 | 92 | 4"X4"X4"PVC Junction Box | 16 | 0.25 | 10
Boxes & Enclosures | 98006006684 | 93 | 4"X4"X6"PVC Junction Box | 19.22 | 0.25 | 12.01
Boxes & Enclosures | 98006006685 | 94 | 5"X5"X2"PVC Junction Box | 18.64 | 0.25 | 11.65
Boxes & Enclosures | 98006006686 | 95 | 6"X6"X4"PVC Junction Box | 20.48 | 0.35 | 12.8
Boxes & Enclosures | 98006006688 | 96 | 6"X6"X6"PVC Junction Box | 23.68 | 0.35 | 14.8
Boxes & Enclosures | 98006006690 | 97 | 8"X8"X4"PVC Junction Box | 39.06 | 0.4 | 24.41
Boxes & Enclosures | 3448108318 | 98 | 8"X8"X8"PVC Junction Box | 56.21 | 0.4 | 35.13
Boxes & Enclosures | 98006006698 | 99 | 12"X12"X4"PVC Junction Box | 60.03 | 0.5 | 37.52
Boxes & Enclosures | 98006006699 | 100 | 12"X12"X6"PVC Junction Box | 60.16 | 0.5 | 37.6
Boxes & Enclosures | 66203710020 | 101 | Concrete Box,11"X17" | 200.18 | 0.5 | 133.45
Boxes & Enclosures |  | 102 | Concrete Cover,11"X17" | 127.14 | 0.1 | 79.46
Boxes & Enclosures | 66203710033 | 103 | Concrete Box,17"X30" | 314.78 | 0.75 | 209.85
Boxes & Enclosures | 66203710035 | 104 | Concrete Cover,17"X30" | 158.85 | 0.1 | 105.9
Boxes & Enclosures |  | 105 | SHEET METAL SCREW COVER PULL BO
Boxes & Enclosures | 78351043000 | 106 | 6"WX4"HX4"D Pull Box,nema1 | 17.39 | 0.26 | 10.87
Boxes & Enclosures | 78351043010 | 107 | 6"WX6"HX4"D Pull Box,nema1 | 16.82 | 0.26 | 10.51
Boxes & Enclosures | 78351043020 | 108 | 8"WX6"HX4"D Pull Box,nema1 | 22.7 | 0.26 | 14.19
Boxes & Enclosures | 78351043040 | 109 | 8"WX8"HX4"D Pull Box,nema1 | 23.12 | 0.35 | 14.45
Boxes & Enclosures | 78351043060 | 110 | 12"WX8"HX4"D Pull Box,nema1 | 34.4 | 0.35 | 21.5
Boxes & Enclosures | 78351043070 | 111 | 10"WX10"HX4"D Pull Box,nema1 | 30.3 | 0.44 | 18.94
Boxes & Enclosures | 78351043090 | 112 | 12"WX12"HX4"D Pull Box,nema1 | 38.91 | 0.53 | 24.32
Boxes & Enclosures | 78351086430 | 113 | 16"WX12"HX4"D Pull Box,nema1 | 57.22 | 0.53 | 35.76
Boxes & Enclosures | 78351043110 | 114 | 18"WX12"HX4"D Pull Box,nema1 | 60.21 | 0.53 | 37.63
Boxes & Enclosures | 78351043140 | 115 | 6"WX6"HX6"D Pull Box,nema1 | 20.3 | 0.35 | 12.69
Boxes & Enclosures | 78351013356 | 116 | 8"WX6"HX6"D Pull Box,nema1 | 29.6 | 0.35 | 18.5
Boxes & Enclosures | 78205122370 | 117 | 8"WX12"HX6"D Pull Box,nema1 | 37.7 | 0.44 | 23.56
Boxes & Enclosures | 78351043200 | 118 | 10"WX10"HX6"D Pull Box,nema1 | 35.92 | 0.53 | 22.45
Boxes & Enclosures | 78351043210 | 119 | 12"WX10"HX6"D Pull Box,nema1 | 50.11 | 0.53 | 31.32
Boxes & Enclosures | 78351043220 | 120 | 12"WX12"HX6"D Pull Box,nema1 | 45.62 | 0.61 | 28.51
Boxes & Enclosures | 78351043270 | 121 | 18"WX18"HX6"D Pull Box,nema1 | 81.31 | 0.88 | 50.82
Boxes & Enclosures | 78351043280 | 122 | 24"WX18"HX6"D Pull Box,nema1 | 148.02 | 0.88 | 92.51
Boxes & Enclosures | 78351043290 | 123 | 24"WX24"HX6"D Pull Box,nema1 | 154.73 | 1.05 | 103.15
Boxes & Enclosures | 78351086290 | 124 | 36"WX24"HX6"D Pull Box,nema1 | 266.31 | 1.1 | 177.54
Boxes & Enclosures | 78351046990 | 125 | 12"WX12"HX8"D Pull Box,nema1 | 50.82 | 0.6 | 31.76
Boxes & Enclosures | 78205123040 | 126 | 18"WX18"HX8"D Pull Box,nema1 | 74.78 | 0.75 | 46.74
Boxes & Enclosures | 78351013363 | 127 | 24"WX18"HX8"D Pull Box,nema1 | 159.42 | 0.95 | 106.28
Boxes & Enclosures | 78351013364 | 128 | 24"WX24"HX8"D Pull Box,nema1 | 171.62 | 1.2 | 114.41
Boxes & Enclosures | 78351013371 | 129 | 18"WX18"HX10"D Pull Box,nema1 | 147.04 | 1 | 91.9
Boxes & Enclosures | 78351013372 | 130 | 24"WX18"HX10"D Pull Box,nema1 | 243.81 | 1.25 | 162.54
Boxes & Enclosures | 78351013373 | 131 | 24"WX24"HX10"D Pull Box,nema1 | 279.45 | 1.5 | 186.3
Boxes & Enclosures |  | 132 | RAINTITE SCREW COVER ENCLOSURE
Boxes & Enclosures | 78351013392 | 133 | 4"WX6"HX4"D Pull Box,nema3R | 28.21 | 0.35 | 17.63
Boxes & Enclosures | 78351038020 | 134 | 6"WX6"HX4"D Pull Box,nema3R | 31.3 | 0.35 | 19.56
Boxes & Enclosures | 78351038030 | 135 | 6"WX8"HX4"D Pull Box,nema3R | 35.92 | 0.4 | 22.45
Boxes & Enclosures | 78351038040 | 136 | 8"WX8"HX4"D Pull Box,nema3R | 41.3 | 0.45 | 25.81
Boxes & Enclosures | 78351038050 | 137 | 8"WX10"HX4"D Pull Box,nema3R | 46.61 | 0.5 | 29.13
Boxes & Enclosures | 78351038060 | 138 | 10"WX10"HX4"D Pull Box,nema3R | 53.02 | 0.5 | 33.14
Boxes & Enclosures | 78351038080 | 139 | 12"WX12"HX4"D Pull Box,nema3R | 66.61 | 0.55 | 41.63
Boxes & Enclosures | 78351037970 | 140 | 18"WX18"HX4"D Pull Box,nema3R | 137.02 | 0.7 | 85.64
Boxes & Enclosures | 78351013393 | 141 | 18"WX12"HX4"D Pull Box,nema3R | 95.73 | 0.8 | 59.83
Boxes & Enclosures | 78351037980 | 142 | 6"WX6"HX6"D Pull Box,nema3R | 33.1 | 0.4 | 20.69
Boxes & Enclosures | 78205134120 | 143 | 6"WX8"HX6"D Pull Box,nema3R | 39.2 | 0.45 | 24.5
Boxes & Enclosures | 78351038100 | 144 | 8"WX8"HX6"D Pull Box,nema3R | 48.51 | 0.5 | 30.32
Boxes & Enclosures | 78351038120 | 145 | 10"WX10"HX6"D Pull Box,nema3R | 62.11 | 0.55 | 38.82
Boxes & Enclosures | 78351038140 | 146 | 10"WX12"HX6"D Pull Box,nema3R | 69.22 | 0.6 | 43.26
Boxes & Enclosures | 78351038150 | 147 | 12"WX12"HX6"D Pull Box,nema3R | 77.62 | 0.6 | 48.51
Boxes & Enclosures | 78351038340 | 148 | 18"WX18"HX6"D Pull Box,nema3R | 161.94 | 0.75 | 107.96
Boxes & Enclosures | 78351038360 | 149 | 18"WX24"HX6"D Pull Box,nema3R | 185.67 | 0.8 | 123.78
Boxes & Enclosures | 78351039540 | 150 | 24"WX24"HX6"D Pull Box,nema3R | 219.42 | 1 | 146.28
Boxes & Enclosures | 78205143612 | 151 | 24"WX36"HX6"D Pull Box,nema3R | 395.37 | 1.2 | 282.41
Boxes & Enclosures | 3448116188 | 152 | Single Gang Low voltage Box Nail-on | 2 | 0.15 | 1.25
Boxes & Enclosures | 3448116189 | 153 | Two Gang Low voltage Box Nail-on | 2.94 | 0.15 | 1.84
Boxes & Enclosures | 3448118879 | 154 | Single Gang cut-in,low volt wiring | 1.66 | 0.2 | 0.92
Boxes & Enclosures | 3448118880 | 155 | Two Gang cut-in,low volt wiring | 4.56 | 0.22 | 2.85
Boxes & Enclosures | 3448114321 | 156 | Switch Box Extension PVC | 3.26 | 0.1 | 2.04
Boxes & Enclosures | 3448114929 | 157 | 1 Gang Adjustable Box,Plastic | 3.98 | 0.12 | 2.49
Boxes & Enclosures | 3448114928 | 158 | 2 Gang Adjustable Box,Plastic | 5.14 | 0.15 | 3.21
Boxes & Enclosures |  | 171 | SHEET METAL HINGED COVER PULL BOXES,NEMA 1
Boxes & Enclosures | 78351051000 | 172 | 6"WX6"HX4"D Pull Box,nema1 16.42 |  | 0.26 | 10.26
Boxes & Enclosures | 78351051080 | 173 | 8"WX8"HX4"D Pull Box,nema1 26.99 |  | 0.35 | 16.87
Boxes & Enclosures | 78351051110 | 174 | 10"WX10"HX4"D Pull Box,nema1 35.62 |  | 0.44 | 22.26
Boxes & Enclosures | 78351051100 | 175 | 12"WX8"HX4"D Pull Box,nema1 56.32 |  | 0.44 | 35.2
Boxes & Enclosures | 78351051140 | 176 | 12"WX12"HX4"D Pull Box,nema1 45.62 |  | 0.53 | 28.51
Boxes & Enclosures | 78351034230 | 177 | 14"WX12"HX4"D Pull Box,nema1 151.36 |  | 0.53 | 94.6
Boxes & Enclosures | 78351051210 | 178 | 6"WX6"HX6"D Pull Box,nema1 23.82 |  | 0.35 | 14.89
Boxes & Enclosures | 78351051170 | 179 | 8"WX8"HX6"D Pull Box,nema1 32.42 |  | 0.35 | 20.26
Boxes & Enclosures | 78351051220 | 180 | 12"WX12"HX6"D Pull Box,nema1 53.42 |  | 0.61 | 33.39
Boxes & Enclosures | 78351051240 | 181 | 18"WX12"HX6"D Pull Box,nema1 114.08 |  | 0.88 | 71.3
Boxes & Enclosures |  | 183 | RAINTITE HINGED COVER ENCLOSURES,NEMA 3R
Boxes & Enclosures | 78351038710 | 184 | 6"WX6"HX4"D Pull Box,nema3R 83.60 |  | 0.35 | 52.25
Boxes & Enclosures | 78351038720 | 185 | 8"WX6"HX4"D Pull Box,nema3R 92.69 |  | 0.45 | 57.93
Boxes & Enclosures | 78351038750 | 186 | 10"WX10"HX6"D Pull Box,nema3R 158.56 |  | 0.5 | 99.1
Boxes & Enclosures | 78351038760 | 187 | 12"WX12"HX6"D Pull Box,nema3R 163.52 |  | 0.55 | 109.01
Boxes & Enclosures | 78351038670 | 188 | 12"WX16"HX6"D Pull Box,nema3R 210.81 |  | 0.6 | 140.54
Boxes & Enclosures | 78351013403 | 189 | 18"WX18"HX6"D Pull Box,nema3R 262.17 |  | 0.65 | 174.78
Boxes & Enclosures | 78351038780 | 190 | 24"WX24"HX8"D Pull Box,nema3R 475.50 |  | 1 | 339.64
Boxes & Enclosures | 78351013406 | 191 | 18"WX18"HX10"D Pull Box,nema3R 321.62 |  | 0.8 | 214.41
Boxes & Enclosures | 78351049279 | 192 | 24"WX24"HX10"D Pull Box,nema3R 529.73 |  | 1.5 | 378.38
Boxes & Enclosures |  | 194 | JIC LIFT-OFF HINGE WIRING BOXES,NE
Boxes & Enclosures | 78351054020 | 195 | 4"WX4"HX4"D JIC Box 83.74 |  | 0.35 | 52.34
Boxes & Enclosures | 78351054040 | 196 | 6"WX4"HX4"D JIC Box 96.72 |  | 0.45 | 60.45
Boxes & Enclosures | 78351054050 | 197 | 6"WX6"HX4"D JIC Box 104.08 |  | 0.45 | 65.05
Boxes & Enclosures | 78351054070 | 198 | 10"WX8"HX4"D JIC Box 137.38 |  | 0.6 | 85.86
Boxes & Enclosures | 78351054090 | 199 | 14"WX12"HX6"D JIC Box 214.86 |  | 0.7 | 143.24
Boxes & Enclosures | 78351054100 | 200 | 16"WX14"HX6"D JIC Box 252.71 |  | 0.85 | 168.47
Boxes & Enclosures |  | 202 | JIC CONTINUOUS HINGE WIRING BOXE
Boxes & Enclosures | 78351055360 | 203 | 4"WX4"HX4"D JIC Box 81.87 |  | 0.35 | 51.17
Boxes & Enclosures | 78351055380 | 204 | 6"WX4"HX4"D JIC Box 94.85 |  | 0.45 | 59.28
Boxes & Enclosures | 78351055390 | 205 | 6"WX6"HX4"D JIC Box 101.76 |  | 0.45 | 63.6
Boxes & Enclosures | 78351055410 | 206 | 10"WX8"HX4"D JIC Box 134.34 |  | 0.6 | 83.96
Boxes & Enclosures | 78351055410 | 207 | 14"WX12"HX6"D JIC Box 160.71 |  | 0.7 | 107.14
Boxes & Enclosures | 78351055540 | 208 | 16"WX14"HX6"D JIC Box 237.84 |  | 0.85 | 158.56
Boxes & Enclosures |  | 210 | JIC PANEL ONLY
Boxes & Enclosures | 78205179305 | 211 | 4"X4" JIC Panel 6.02 |  | 0.25 | 3.76
Boxes & Enclosures | 78205179305 | 212 | 6"X4" JIC Panel 6.02 |  | 0.25 | 3.76
Boxes & Enclosures | 78205179310 | 213 | 6"X6" JIC Panel 6.74 |  | 0.25 | 4.21
Boxes & Enclosures | 78205179340 | 214 | 10"X8" JIC Panel 10.54 |  | 0.3 | 6.59
Boxes & Enclosures | 78205179380 | 215 | 14"X12" JIC Panel 19.47 |  | 0.3 | 12.17
Boxes & Enclosures | 78205179390 | 216 | 16"X14" JIC Panel 23.18 |  | 0.35 | 14.49
Boxes & Enclosures |  | 218 | CURRENT TRANSFORMER CABINETS, N
Boxes & Enclosures | 78205137005 | 219 | 18"WX24"HX9"D Current XFMR Cabinet 182.09 |  | 3.5 | 121.39
Boxes & Enclosures | 78205137025 | 220 | 24"WX32"HX9"D Current XFMR Cabinet 316.22 |  | 4.5 | 210.81
Boxes & Enclosures | 78205137020 | 221 | 24"WX24"HX11"D Current XFMR Cabinet | 299.36 | 4 | 199.57
Boxes & Enclosures | 78205137030 | 222 | 24"WX30"HX11"D Current XFMR Cabinet | 399.52 | 4.5 | 285.37
Boxes & Enclosures | 78205137040 | 223 | 24"WX36"HX11"D Current XFMR Cabinet | 358.5 | 5 | 256.07
Boxes & Enclosures | 78205137070 | 224 | 30"WX30"HX11"D Current XFMR Cabinet | 385.24 | 4.5 | 275.17
Boxes & Enclosures | 78205137080 | 225 | 30"WX36"HX11"D Current XFMR Cabinet | 542.25 | 5 | 387.32
Boxes & Enclosures | 78205137090 | 226 | 36"WX36"HX11"D Current XFMR Cabinet | 415.81 | 5 | 297.01
Plug-In Circuit Breakers | 78667636210 | 239 | 15A-30A SP-Bryant CB | 9.62 | 0.1 | 6.01
Plug-In Circuit Breakers | 78667636925 | 240 | 15A-30A SP 1/2"-Bryant CB | 24.67 | 0.15 | 15.42
Plug-In Circuit Breakers | 78667636305 | 241 | 15A-60A DP/Twin-Bryant CB | 22.59 | 0.2 | 14.12
Plug-In Circuit Breakers | 78667637075 | 242 | 15A-50A Quad-Bryant CB | 58.22 | 0.3 | 36.39
Plug-In Circuit Breakers | 78667636325 | 243 | 70A-100A DP-Bryant CB | 74.29 | 0.25 | 46.43
Plug-In Circuit Breakers | 78667636720 | 244 | 125A-225A DP-Bryant CB | 244.98 | 0.3 | 163.32
Plug-In Circuit Breakers | 78667636780 | 245 | 15A-60A 3 Pole-Bryant CB | 123.36 | 0.22 | 77.1
Plug-In Circuit Breakers | 78667636800 | 246 | 70A 3Pole-Bryant CB | 207.21 | 0.3 | 138.14
Plug-In Circuit Breakers | 78667636809 | 247 | 90A-100A 3Pole-Bryant CB | 205.61 | 0.32 | 137.07
Plug-In Circuit Breakers | 78667636845 | 248 | 125A-225A 3Pole-Bryant CB | 857.28 | 0.35 | 635.02
Plug-In Circuit Breakers | 78667636870 | 249 | 15A-20A SP GFI-Bryant CB | 101.02 | 0.2 | 63.14
Plug-In Circuit Breakers | 78667636895 | 250 | 15A-20A DP GFI-Bryant CB | 210.56 | 0.22 | 140.37
Plug-In Circuit Breakers | 9492503038 | 255 | 15A-50A SP-Zinsco CB | 26.03 | 0.1 | 16.27
Plug-In Circuit Breakers | 9492503029 | 256 | 15A-60A DP/Twin-Zinsco CB | 59.46 | 0.15 | 37.16
Plug-In Circuit Breakers | 9492541812 | 257 | 70A DP-Zinsco CB | 119.34 | 0.2 | 74.59
Plug-In Circuit Breakers | 9492503046 | 258 | 80A-100A DP-Zinsco CB | 156.62 | 0.25 | 104.41
Plug-In Circuit Breakers | 9492541815 | 259 | 125A DP-Zinsco CB | 342.57 | 0.35 | 228.38
Plug-In Circuit Breakers | 9492502673 | 260 | 15A-60A 3Pole-Zinsco CB | 473.76 | 0.15 | 338.4
Plug-In Circuit Breakers | 9492502678 | 261 | 70A 3Pole-Zinsco CB | 552.72 | 0.15 | 394.8
Plug-In Circuit Breakers | 9492502680 | 262 | 90-100A 3Pole-Zinsco CB | 552.72 | 0.15 | 394.8
Plug-In Circuit Breakers | 9492503101 | 267 | 15A-50A SP-Pushmatic CB | 21.36 | 0.15 | 13.35
Plug-In Circuit Breakers | 9492503003 | 268 | 15A-20A SP GFI-Pushmatic CB | 156 | 0.22 | 97.5
Plug-In Circuit Breakers | 9492503111 | 269 | 15A-20A Twin Pushmatic CB | 49.92 | 0.2 | 31.2
Plug-In Circuit Breakers | 9492503104 | 270 | 15A-60A DP-Pushmatic CB | 51.84 | 0.2 | 32.4
Plug-In Circuit Breakers | 9492503109 | 271 | 70A DP-Pushmatic CB | 106.29 | 0.25 | 66.43
Plug-In Circuit Breakers | 9492503113 | 272 | 90A-100A DP-Pushmatic CB | 150.62 | 0.3 | 94.14
Plug-In Circuit Breakers | 78316401286 | 277 | 15A-50A SP GE CB | 12.3 | 0.15 | 7.69
Plug-In Circuit Breakers | 78316408598 | 278 | 15A-20A SP GFI-GE CB | 121.12 | 0.22 | 75.7
Plug-In Circuit Breakers | 78316408573 | 279 | 15A-50A DP Twin-GE CB | 27.39 | 0.2 | 17.12
Plug-In Circuit Breakers | 78316401291 | 280 | 15A-60A DP-GE CB | 29.2 | 0.15 | 18.25
Plug-In Circuit Breakers | 78316409920 | 281 | 70A DP-GE CB | 64.02 | 0.2 | 40.01
Plug-In Circuit Breakers | 78316409923 | 282 | 70A-100A DP-GE CB | 82.56 | 0.25 | 51.6
Plug-In Circuit Breakers | 78316401302 | 283 | 15A-60A 3Pole-GE CB | 136.24 | 0.2 | 85.15
Plug-In Circuit Breakers | 78316401214 | 284 | 70A 3Pole-GE CB | 155.84 | 0.25 | 103.89
Plug-In Circuit Breakers | 78316401216 | 285 | 80A-100A 3Pole-GE CB | 188.7 | 0.25 | 125.8
Plug-In Circuit Breakers | 78211310164 | 290 | 15A-50A SP-Cutler Hammer CB | 14.85 | 0.2 | 9.28
Plug-In Circuit Breakers | 78211310180 | 291 | 15A-60A DP-Cutler Hammer CB | 32.67 | 0.2 | 20.42
Plug-In Circuit Breakers | 78211310189 | 292 | 70A DP-Cutler Hammer CB | 76.43 | 0.25 | 47.77
Plug-In Circuit Breakers | 78211310191 | 293 | 90A DP-Cutler Hammer CB | 108.88 | 0.3 | 68.05
Plug-In Circuit Breakers | 78211310237 | 294 | 100A DP-Cutler Hammer CB | 101.26 | 0.3 | 63.29
Plug-In Circuit Breakers | 78211310205 | 295 | 15A-60A 3Pole-Cutler Hammer CB | 146.69 | 0.25 | 91.68
Plug-In Circuit Breakers | 78211310213 | 296 | 70A 3Pole-Cutler Hammer CB | 187.25 | 0.3 | 124.83
Plug-In Circuit Breakers | 78211310239 | 297 | 90A 3Pole-Cutler Hammer CB | 223.11 | 0.4 | 148.74
Plug-In Circuit Breakers | 78211310240 | 298 | 100A 3Pole-Cutler Hammer CB | 242.66 | 0.4 | 161.77
Plug-In Circuit Breakers | 78590106521 | 302 | 15A-60A Homeline -SQ-D CB | 9.54 | 0.2 | 5.96
Plug-In Circuit Breakers | 78590140010 | 303 | 15A-60A QO SP-SQ-D CB | 11.52 | 0.2 | 7.2
Plug-In Circuit Breakers | 78590106528 | 304 | 15A-60A Homeline DP-SQ-D CB | 16.21 | 0.2 | 10.13
Plug-In Circuit Breakers | 78590106534 | 305 | 70A Homeline DP-SQ-D CB | 55.58 | 0.25 | 34.74
Plug-In Circuit Breakers | 78590106575 | 306 | 80A-100A Homeline DP-SQ-D CB | 69.41 | 0.3 | 43.38
Plug-In Circuit Breakers | 78590106579 | 307 | 110-125A Homeline DP-SQ-D CB | 152.85 | 0.35 | 95.53
Plug-In Circuit Breakers | 78590106583 | 308 | 150A Homeline DP-SQ-D CB | 466.48 | 0.4 | 333.2
Plug-In Circuit Breakers | 78590140036 | 309 | 15A-60A QO DP-SQ-D-CB | 26.53 | 0.2 | 16.58
Plug-In Circuit Breakers | 78590140058 | 310 | 70A QO DP-SQ-D-CB | 64.91 | 0.25 | 40.57
Plug-In Circuit Breakers | 78590150130 | 311 | 80A-100A QO DP-SQ-D-CB | 84.78 | 0.3 | 52.99
Plug-In Circuit Breakers | 78590140072 | 312 | 15A-60A QO 3Pole-SQ-D-CB | 130.9 | 0.25 | 81.81
Plug-In Circuit Breakers | 78590100438 | 313 | 70A 3Pole-SQ-D-CB | 168.33 | 0.25 | 112.22
Plug-In Circuit Breakers | 78590100441 | 314 | 80A-100A 3Pole-SQ-D-CB | 195.59 | 0.25 | 130.39
Plug-In Circuit Breakers | 78590125507 | 315 | 15-30A QO SP-SQ-D GFCI CB | 58.08 | 0.25 | 36.3
Plug-In Circuit Breakers | 78590156299 | 316 | 15-30A QO DP-SQ-D GFCI CB | 115.84 | 0.25 | 72.4
Plug-In Circuit Breakers | 78590176487 | 317 | 40-60A QO DP-SQ-D GFCI CB | 115.84 | 0.25 | 72.4
Plug-In Circuit Breakers | 9492502629 | 319 | 15A-50A SP-Federal Pacific CB | 54.14 | 0.2 | 33.84
Plug-In Circuit Breakers | 9492502621 | 320 | 15A-50A SP 1/2"Federal Pacific CB | 54.14 | 0.2 | 33.84
Plug-In Circuit Breakers | 9492503004 | 321 | 15A-20A SP GFI Federal Pacific CB | 449.19 | 0.22 | 320.85
Plug-In Circuit Breakers | 9492502625 | 322 | 15A-50A Twin-Federal Pacific CB | 124.08 | 0.2 | 77.55
Plug-In Circuit Breakers | 9492502633 | 323 | 15A-60A DP-Federal Pacific CB | 124.08 | 0.2 | 77.55
Plug-In Circuit Breakers | 9492503005 | 324 | 70A DP-Federal Pacific CB | 232.65 | 0.2 | 155.1
Plug-In Circuit Breakers | 9492502637 | 325 | 100A DP-Federal Pacific CB | 317.25 | 0.25 | 211.5
Plug-In Circuit Breakers | 78364314819 | 330 | 15A-50A SP-ITE CB | 8.64 | 0.2 | 5.4
Plug-In Circuit Breakers | 78364314826 | 331 | 15A-20A Twin-ITE CB | 20.74 | 0.2 | 12.96
Plug-In Circuit Breakers | 78364314858 | 332 | 15A-20A SP-GFI-ITE CB | 85.09 | 0.25 | 53.18
Plug-In Circuit Breakers | 78364314855 | 333 | 15A-20A DP-GFI-ITE CB | 188.78 | 0.25 | 125.85
Plug-In Circuit Breakers | 78364314838 | 334 | 15A-60A DP-ITE CB | 19.14 | 0.2 | 11.96
Plug-In Circuit Breakers | 78364314866 | 335 | 70A DP-ITE CB | 43.55 | 0.25 | 27.22
Plug-In Circuit Breakers | 78364314868 | 336 | 90-100A DP-ITE CB | 65.65 | 0.3 | 41.03
Plug-In Circuit Breakers | 78364314869 | 337 | 125A DP-ITE CB | 130.11 | 0.35 | 81.32
Plug-In Circuit Breakers | 78364314829 | 338 | 15A-40A DP-Quad-ITE CB | 56.42 | 0.35 | 35.26
Plug-In Circuit Breakers | 78364314841 | 339 | 15-60A 3Pole-ITE CB | 100.13 | 0.25 | 62.58
Plug-In Circuit Breakers | 78364314845 | 340 | 70A 3Pole-ITE CB | 122.58 | 0.3 | 76.61
Plug-In Circuit Breakers | 78364314847 | 341 | 100A 3Pole-ITE CB | 151.82 | 0.35 | 94.89
Plug-In Circuit Breakers | 78316408568 | 346 | 15A-50A 1/2" SP-Challenger CB | 11.47 | 0.15 | 7.17
Plug-In Circuit Breakers | 78667636210 | 347 | 15A-50A SP-Challenger CB | 9.62 | 0.2 | 6.01
Plug-In Circuit Breakers | 78667636925 | 348 | 15A-50A Twin-Challenger CB | 24.67 | 0.2 | 15.42
Plug-In Circuit Breakers | 78667937120 | 349 | 15A-30A SP-GFI-Challenger CB | 94.93 | 0.25 | 59.33
Plug-In Circuit Breakers | 78667636895 | 350 | 15A-30A DP-GFI-Challenger CB | 210.56 | 0.25 | 140.37
Plug-In Circuit Breakers | 78667636285 | 351 | 15A-60A DP-Challenger CB | 22.05 | 0.2 | 13.78
Plug-In Circuit Breakers | 78667636315 | 352 | 70A DP-Challenger CB | 56.4 | 0.25 | 35.25
Plug-In Circuit Breakers | 78667636325 | 353 | 90-100A DP-Challenger CB | 74.29 | 0.3 | 46.43
Plug-In Circuit Breakers | 78667636705 | 354 | 110-125A DP-Challenger CB | 162.68 | 0.35 | 108.45
Plug-In Circuit Breakers | 78667636775 | 355 | 15-60A 3Pole-Challenger CB | 122.64 | 0.25 | 76.65
Plug-In Circuit Breakers | 78667636800 | 356 | 70A 3Pole-Challenger CB | 207.21 | 0.3 | 138.14
Plug-In Circuit Breakers | 78667636809 | 357 | 90-100A 3Pole-Challenger CB | 205.61 | 0.35 | 137.07
Plug-In Circuit Breakers | 78667636700 | 358 | 150A 2Pole-Challenger QF Main CB | 186.36 | 1 | 124.24
Plug-In Circuit Breakers | 78667636720 | 359 | 200A 2Pole-Challenger QF Main CB | 244.98 | 1.25 | 163.32
Plug-In Circuit Breakers | 78667636725 | 360 | 225A 2Pole-Challenger QF Main CB | 224.87 | 1.5 | 149.91
Plug-In Circuit Breakers | 78667636835 | 361 | 150A 3Pole-Challenger QF Main CB | 796.15 | 1.25 | 589.74
Plug-In Circuit Breakers | 78667636845 | 362 | 200A 3Pole-Challenger QF Main CB | 857.28 | 1.5 | 635.02
Plug-In Circuit Breakers | 78667636850 | 363 | 225A 3Pole-Challenger QF Main CB | 984.15 | 1.75 | 729
Plug-In Circuit Breakers | 4089228113 | 368 | 15A-30A 1/2" SP-Crouse-Hinds CB | 76.3 | 0.15 | 47.69
Plug-In Circuit Breakers | 4089251889 | 369 | 15A-50A SP-Crouse-Hinds CB | 11.44 | 0.2 | 7.15
Plug-In Circuit Breakers | 4089228110 | 370 | 15A-30A Twin-Crouse-Hinds CB | 32 | 0.2 | 20
Plug-In Circuit Breakers | 4089227815 | 371 | 15A-30A SP-GFI-Crouse-Hinds CB | 95.86 | 0.25 | 59.91
Plug-In Circuit Breakers | 4089252996 | 372 | 15A-40A DP-GFI-Crouse-Hinds CB | 369.66 | 0.25 | 264.04
Plug-In Circuit Breakers | 4089251896 | 373 | 15A-60A DP-Crouse-Hinds CB | 47.73 | 0.2 | 29.83
Plug-In Circuit Breakers | 4089227980 | 374 | 70A DP-Crouse-Hinds CB | 79.34 | 0.25 | 49.59
Plug-In Circuit Breakers | 4089250755 | 375 | 90-100A DP-Crouse-Hinds CB | 138.56 | 0.3 | 86.6
Plug-In Circuit Breakers | 4089228119 | 376 | 110-125A DP-Crouse-Hinds CB | 285.15 | 0.35 | 190.1
Plug-In Circuit Breakers | 4089252872 | 377 | 150-200A DP-Crouse-Hinds CB | 394.14 | 0.45 | 281.53
Plug-In Circuit Breakers | 4089223800 | 378 | 15-60A 3Pole-Crouse-Hinds CB | 238.29 | 0.25 | 158.86
Plug-In Circuit Breakers | 4089223855 | 379 | 70A 3Pole-Crouse-Hinds CB | 297.51 | 0.3 | 198.34
Plug-In Circuit Breakers | 4089223760 | 380 | 90-100A 3Pole-Crouse-Hinds CB | 349.83 | 0.35 | 233.22
Plug-In Circuit Breakers | 4089224175 | 381 | 125-200A 3Pole-Crouse-Hinds CB | 1058.35 | 0.5 | 783.96
Plug-In Circuit Breakers | 78667934320 | 386 | 10A-60A SP-Westinghouse CB | 29.31 | 0.2 | 18.32
Plug-In Circuit Breakers | 78667636240 | 387 | 70A SP-Westinghouse CB | 25.89 | 0.25 | 16.18
Plug-In Circuit Breakers | 78667637025 | 388 | 15A-30A Twin-Westinghouse CB | 36.34 | 0.2 | 22.71
Plug-In Circuit Breakers | 78667637130 | 389 | 15A-30A Quad-Westinghouse CB | 57.87 | 0.35 | 36.17
Plug-In Circuit Breakers | 78667937120 | 390 | 15A-40A SP-GFI-Westinghouse CB | 94.93 | 0.25 | 59.33
Plug-In Circuit Breakers | 78667636895 | 391 | 15A-40A DP-GFI-Westinghouse CB | 210.56 | 0.25 | 140.37
Plug-In Circuit Breakers | 78667934400 | 392 | 10A-60A DP-Westinghouse CB | 122.21 | 0.2 | 76.38
Plug-In Circuit Breakers | 78667934430 | 393 | 70A DP-Westinghouse CB | 126.1 | 0.25 | 78.81
Plug-In Circuit Breakers | 78667934440 | 394 | 80-100A DP-Westinghouse CB | 288.18 | 0.3 | 192.12
Plug-In Circuit Breakers | 78667934445 | 395 | 110-125A DP-Westinghouse CB | 335.22 | 0.35 | 223.48
Plug-In Circuit Breakers | 78667636725 | 396 | 125-225A DP-Westinghouse CB | 224.87 | 0.45 | 149.91
Plug-In Circuit Breakers | 78667934452 | 397 | 15-60A 3Pole-Westinghouse CB | 189.81 | 0.25 | 126.54
Plug-In Circuit Breakers | 78667934457 | 398 | 70A 3Pole-Westinghouse CB | 242.54 | 0.3 | 161.69
Plug-In Circuit Breakers | 78667934459 | 399 | 90-100A 3Pole-Westinghouse CB | 467.98 | 0.35 | 334.27
Plug-In Circuit Breakers | 78667636850 | 400 | 125-225A 3Pole-Westinghouse CB | 984.15 | 0.5 | 729
Wire & Cable | 98010022300 | 431 | #14 THHN Copper Wire,Sol | 0.28 | 0.007 | 0.14
Wire & Cable | 98010022700 | 432 | #16 THHN Copper Wire,Str | 0.24 | 0.008 | 0.12
Wire & Cable | 98010022500 | 433 | #10 THHN Copper Wire,Sol | 0.54 | 0.009 | 0.3
Wire & Cable | 98010022800 | 434 | #14 THHN Copper Wire,Str | 0.3 | 0.006 | 0.15
Wire & Cable | 98010022900 | 435 | #12 THHN Copper Wire,Str | 0.44 | 0.007 | 0.22
Wire & Cable | 98010023000 | 436 | #10 THHN Copper Wire,Str | 0.61 | 0.008 | 0.34
Wire & Cable | 98010023100 | 437 | #8 THHN Copper Wire,Str | 1.13 | 0.009 | 0.63
Wire & Cable | 98010023153 | 438 | #6 THHN Copper Wire,Str | 1.75 | 0.01 | 0.97
Wire & Cable | 98010023200 | 439 | #4 THHN Copper Wire,Str | 2.37 | 0.012 | 1.48
Wire & Cable | 98010023300 | 440 | #2 THHN Copper Wire,Str | 3.73 | 0.013 | 2.33
Wire & Cable | 98010023350 | 441 | #1 THHN Copper Wire,Str | 4.18 | 0.014 | 2.61
Wire & Cable | 98010023400 | 442 | 1/0 THHN Copper Wire,Str | 5.12 | 0.015 | 3.2
Wire & Cable | 98010023405 | 443 | 2/0 THHN Copper Wire,Str | 6.3 | 0.016 | 3.94
Wire & Cable | 98010023410 | 444 | 3/0 THHN Copper Wire,Str | 7.95 | 0.017 | 4.97
Wire & Cable | 98010023415 | 445 | 4/0 THHN Copper Wire,Str | 9.92 | 0.018 | 6.2
Wire & Cable | 98010023420 | 446 | 250MCM THHN Copper Wire,Str | 11.5 | 0.02 | 7.19
Wire & Cable | 98010023430 | 447 | 350MCM THHN Copper Wire,Str | 16.14 | 0.023 | 10.09
Wire & Cable | 98010023440 | 448 | 500MCM THHN Copper Wire,Str | 23.22 | 0.026 | 14.51
Wire & Cable | 98010023445 | 449 | 600 MCM THHN Copper Wire,Str | 28.91 | 0.028 | 18.07
Wire & Cable | 98010026300 | 450 | #14/2 NM cable | 0.94 | 0.006 | 0.52
Wire & Cable | 98010026350 | 451 | #14/3 NM cable | 1.24 | 0.007 | 0.69
Wire & Cable | 98010026305 | 452 | #12/2 NM cable | 1.37 | 0.018 | 0.76
Wire & Cable | 98010026355 | 453 | #12/3 NM cable | 1.71 | 0.018 | 1.07
Wire & Cable | 98010026310 | 454 | #10/2 NM cable | 2.19 | 0.007 | 1.37
Wire & Cable | 98010026360 | 455 | #10/3 NM cable | 2.72 | 0.008 | 1.7
Wire & Cable | 98010026315 | 456 | #8/2 NM cable | 3.65 | 0.009 | 2.28
Wire & Cable | 98010026365 | 457 | #8/3 NM cable | 5.14 | 0.01 | 3.21
Wire & Cable | 98010026320 | 458 | #6/2 NM cable | 5.15 | 0.013 | 3.22
Wire & Cable | 98010026370 | 459 | #6/3 NM cable | 7.5 | 0.014 | 4.69
Wire & Cable | 98010026375 | 460 | #4/3 NM cable | 18.69 | 0.016 | 11.68
Wire & Cable | 98010026380 | 461 | #2/3 NM Cable | 28.03 | 0.018 | 17.52
Wire & Cable | 98010026600 | 463 | #14/2 UF cable | 0.99 | 0.005 | 0.55
Wire & Cable | 98010026650 | 464 | #14/3 UF cable | 1.4 | 0.005 | 0.78
Wire & Cable | 98010026605 | 465 | #12/2 UF cable | 1.51 | 0.005 | 0.84
Wire & Cable | 98010026655 | 466 | #12/3 UF cable | 1.89 | 0.006 | 1.18
Wire & Cable | 98010026610 | 467 | #10/2 UF cable | 2.21 | 0.006 | 1.38
Wire & Cable | 98010026660 | 468 | #10/3 UF cable | 2.98 | 0.006 | 1.86
Wire & Cable | 98010026615 | 469 | #8/2 UF cable | 3.81 | 0.007 | 2.38
Wire & Cable | 98010026665 | 470 | #8/3 UF cable | 5.63 | 0.007 | 3.52
Wire & Cable | 98010026620 | 471 | #6/2 UF cable | 5.36 | 0.008 | 3.35
Wire & Cable | 98010026670 | 472 | #6/3 UF cable | 8.34 | 0.008 | 5.21
Wire & Cable |  | 475 | CAT6 Plenum Cable | 0.44 | 0.008 | 0.22
Wire & Cable | 7940713171 | 476 | #22/6 Telephone Cable | 0.63 | 0.006 | 0.35
Wire & Cable | 7940790161 | 477 | 12/2 Low Voltage Cable,Direct Burial | 1.19 | 0.005 | 0.66
Wire & Cable | 2989248360 | 478 | RG-59U TV Coax Cable | 0.4 | 0.006 | 0.2
Wire & Cable | 7940774002 | 479 | RG-6U TV Coax Cable | 0.16 | 0.006 | 0.08
Wire & Cable | 8120300965 | 480 | #20 48V Bell Wire | 0.34 | 0.002 | 0.17
Wire & Cable | 7940705482 | 481 | 2/C Twisted Thermostat Cable | 0.22 | 0.002 | 0.11
Wire & Cable | 7940705483 | 482 | 3/C Twisted Thermostat Cable | 0.3 | 0.003 | 0.15
Wire & Cable | 7940711585 | 483 | 2/C Jacketed Thermostat Cable | 0.24 | 0.002 | 0.12
Wire & Cable | 7940705583 | 484 | 3/C Jacketed Thermostat Cable | 0.34 | 0.003 | 0.17
Wire & Cable | 98012058450 | 486 | #8/3 SER Cable,Aluminum | 1.1 | 0.01 | 0.61
Wire & Cable | 98012058455 | 487 | #6/3 SER Cable,Aluminum | 1.24 | 0.012 | 0.69
Wire & Cable | 98012058460 | 488 | #4/3 SER Cable,Aluminum | 1.37 | 0.014 | 0.76
Wire & Cable | 98012057901 | 489 | #2/3 SER Cable,Aluminum | 1.82 | 0.016 | 1.14
Wire & Cable | 98012058475 | 490 | #1/3 SER Cable,Aluminum | 2.38 | 0.018 | 1.49
Wire & Cable | 98012058480 | 491 | #1/0/3 SER Cable,Aluminum | 2.59 | 0.02 | 1.62
Wire & Cable | 98012027075 | 492 | #2/0/3 SER Cable,Aluminum | 3.06 | 0.03 | 1.91
Wire & Cable | 98010036855 | 493 | #8 Solid Copper,w/armor | 1.15 | 0.01 | 0.64
Wire & Cable | 98010036860 | 494 | #6 Solid Copper,w/armor | 1.39 | 0.012 | 0.77
Wire & Cable | 7768031093 | 495 | #12/2 0-10v MC Cable | 1.89 | 0.025 | 1.18
Wire & Cable | 55017701 | 496 | #14/2 Type MC Stl Cable | 1.42 | 0.014 | 0.79
Wire & Cable |  | 497 | #14/3 Type MC Stl Cable | 1.81 | 0.016 | 1.13
Wire & Cable | 3670038466 | 498 | #12/2 Type MC Stl Cable | 1.33 | 0.016 | 0.74
Wire & Cable | 3670038471 | 499 | #12/3 Type MC Stl Cable | 1.87 | 0.02 | 1.17
Wire & Cable | 98010044695 | 500 | #12/4 Type MC Stl Cable | 2.94 | 0.024 | 1.84
Wire & Cable | 69117001 | 501 | #10/2 Type MC Stl Cable | 2.7 | 0.018 | 1.69
Wire & Cable | 69118801 | 502 | #10/3 Type MC Stl Cable | 4.45 | 0.022 | 2.78
Wire & Cable | 98010044700 | 503 | #10/4 Type MC Stl Cable | 6.61 | 0.026 | 4.13
Wire & Cable | 98010044707 | 504 | #14/4 Type MC Stl Cable | 1.95 | 0.024 | 1.22
Wire & Cable | 98010044000 | 505 | #14/2 Type BX Stl Cable | 0.79 | 0.02 | 0.44
Wire & Cable | 98010044045 | 506 | #14/3 Type BX Stl Cable | 1.22 | 0.022 | 0.68
Wire & Cable | 98010044005 | 507 | #12/2 Type BX Stl Cable | 0.79 | 0.022 | 0.44
Wire & Cable | 98010044050 | 508 | #12/3 Type BX Stl Cable | 1.3 | 0.025 | 0.72
Wire & Cable | 98010044095 | 509 | #12/4 Type BX Stl Cable | 1.76 | 0.028 | 0.98
Wire & Cable | 98010044010 | 510 | #10/2 Type BX Stl Cable | 1.46 | 0.025 | 0.81
Wire & Cable | 98010044055 | 511 | #10/3 Type BX Stl Cable | 1.79 | 0.028 | 1.12
Wire & Cable | 98010044100 | 512 | #10/4 Type BX Stl Cable | 2.78 | 0.032 | 1.74
Wire & Cable | 78599111026 | 513 | Grnd Screws | 0.24 | 0.02 | 0.12
Wire & Cable | 78325030073 | 514 | Orange Wire Nuts | 0.16 | 0.02 | 0.08
Wire & Cable | 7630892611 | 515 | Yellow Wire Nuts | 0.18 | 0.02 | 0.09
Wire & Cable | 7630892605 | 516 | Red Wire Nuts | 0.18 | 0.02 | 0.09
Wire & Cable | 78325030071 | 517 | Gray Wire Nuts | 0.12 | 0.03 | 0.06
Wire & Cable | 78325030072 | 518 | Blue Wire Nuts | 0.14 | 0.03 | 0.07
Wire & Cable | 78599111028 | 519 | Grnd Clips | 0.52 | 0.02 | 0.29
Wire & Cable | 78378620042 | 520 | Split Bolt Conn.#12-#6 cu/al | 6.54 | 0.2 | 4.09
Wire & Cable | 78378620026 | 521 | Split Bolt Conn.#10-#4 cu/al | 7.3 | 0.25 | 4.56
Wire & Cable | 78378620044 | 522 | Split Bolt Conn.#8-#2 cu/al | 9.31 | 0.35 | 5.82
Wire & Cable | 78378620046 | 523 | Split Bolt Conn.#2-#1/0 cu/al | 19.63 | 0.45 | 12.27
Wire & Cable | 78378620028 | 524 | Split Bolt Conn.#2-#2/0 cu/al | 21.68 | 0.5 | 13.55
Wire & Cable | 78378620048 | 525 | Split Bolt Conn.#1-#250 cu/al | 37.22 | 0.5 | 23.26
Wire & Cable | 78378685508 | 526 | Split Bolt Conn.#1/0-#350 cu/al | 73.01 | 0.6 | 45.63
Wire & Cable | 78378685525 | 527 | Split Bolt Conn.#350-#500 cu/al | 105.7 | 0.65 | 66.06
Wire & Cable | 78378661001 | 528 | One Hole Solderless Lug#8 | 1.03 | 0.08 | 0.57
Wire & Cable | 78378661000 | 529 | One Hole Solderless Lug#4 | 1.42 | 0.1 | 0.79
Wire & Cable | 78378661004 | 530 | One Hole Solderless Lug#1/0 | 1.79 | 0.2 | 1.12
Wire & Cable | 78378661010 | 531 | One Hole Solderless Lug#4/0 | 5.23 | 0.3 | 3.27
Wire & Cable | 78378661027 | 532 | One Hole Solderless Lug#500 MCM | 11.52 | 0.4 | 7.2
Wire & Cable | 78378661012 | 533 | Two Conductor Solderless Lug#250 MCM | 10.91 | 0.45 | 6.82
Wire & Cable | 78378661022 | 534 | Two Conductor Solderless Lug#350 MCM | 15.14 | 0.5 | 9.46
Wire & Cable | 78378661033 | 535 | Two Conductor Solderless Lug#600 MCM | 24.61 | 0.65 | 15.38
Wire & Cable | 98012054100 | 536 | #6 Str. XHHW Aluminum wire | 0.32 | 0.009 | 0.16
Wire & Cable | 98012054150 | 537 | #4 Str. XHHW Aluminum wire | 0.4 | 0.01 | 0.2
Wire & Cable | 98012054180 | 538 | #2 Str. XHHW Aluminum wire | 0.5 | 0.011 | 0.28
Wire & Cable | 98012054200 | 539 | #1 Str. XHHW Aluminum wire | 0.7 | 0.012 | 0.39
Wire & Cable | 98012054225 | 540 | 1/0 Str. XHHW Aluminum wire | 0.79 | 0.013 | 0.44
Wire & Cable | 98012054230 | 541 | 2/0 Str. XHHW Aluminum wire | 0.94 | 0.014 | 0.52
Wire & Cable | 98012054235 | 542 | 3/0 Str. XHHW Aluminum wire | 1.15 | 0.015 | 0.64
Wire & Cable | 98012054240 | 543 | 4/0 Str. XHHW Aluminum wire | 1.3 | 0.016 | 0.72
Wire & Cable | 98012054245 | 544 | 250MCM Str. XHHW Aluminum wire | 1.57 | 0.018 | 0.87
Wire & Cable | 98012054255 | 545 | 350MCM Str. XHHW Aluminum wire | 1.97 | 0.02 | 1.23
Wire & Cable | 98012054265 | 546 | 500MCM Str. XHHW Aluminum wire | 2.53 | 0.022 | 1.58
Wire & Cable | 98013042515 | 547 | #18/3 Type SO Cord | 0.48 | 0.008 | 0.24
Wire & Cable | 98013042545 | 548 | #16/3 Type SO Cord | 0.47 | 0.008 | 0.26
Wire & Cable | 98013042575 | 549 | #14/3 Type SO Cord | 0.7 | 0.009 | 0.39
Wire & Cable | 98013042370 | 550 | #12/3 Type SO Cord | 2.62 | 0.011 | 1.64
Wire & Cable | 98013042460 | 551 | #10/3 Type SO Cord | 3.73 | 0.011 | 2.33
Wire & Cable | 98013042015 | 552 | #18/4 Type SO Cord | 1.13 | 0.008 | 0.63
Wire & Cable | 98013042130 | 553 | #16/4 Type SO Cord | 1.53 | 0.008 | 0.85
Wire & Cable | 98013042260 | 554 | #14/4 Type SO Cord | 1.95 | 0.009 | 1.22
Wire & Cable | 98013042375 | 555 | #12/4 Type SO Cord | 3.12 | 0.011 | 1.95
Wire & Cable | 98013042645 | 556 | #10/4 Type SO Cord | 3.42 | 0.011 | 2.14
Wire & Cable | 98010023425 | 557 | 300 MCM Copper Wire, Str | 13.79 | 0.025 | 8.62
Wire & Cable | 98010023250 | 558 | #3 THHN Copper Wire,Str | 2.98 | 0.013 | 1.86
Wire & Cable | 55636101 | 559 | 12-2 MC Hospital Grade | 1.94 | 0.018 | 1.21
Wire & Cable | 5016900996 | 560 | #12 Ground Tail | 0.3 | 0.02 | 0.15
Wire & Cable | 98010023435 | 561 | 400MCM Stranded THHN | 18.37 | 0.03 | 11.48
Wire & Cable |  | 562 | #12/2 0-10v Hospital Grade MC Cable | 3.78 | 0.03 | 2.36
Wire & Cable |  | 563 | 12-3 MC Hospital Grade | 2.78 | 0.22 | 1.74
Wire & Cable | 98010033500 | 564 | #8 Bare STR | 0.68 | 0.015 | 0.38
Wire & Cable | 98010033510 | 565 | #6 Bare STR | 1.1 | 0.02 | 0.61
Wire & Cable | 98010033520 | 566 | #4 Bare STR | 1.73 | 0.025 | 0.96
Wire & Cable | 98010033540 | 567 | #2 Bare STR | 2.45 | 0.03 | 1.53
Wire & Cable | 98010033560 | 568 | #1/0 Bare STR | 3.87 | 0.035 | 2.42
Wire & Cable | 98010033570 | 569 | #2/0 Bare STR | 4.88 | 0.04 | 3.05
Wire & Cable | 98010033580 | 570 | #3/0 Bare STR | 6.14 | 0.045 | 3.84
Wire & Cable | 98010033590 | 571 | #4/0 Bare STR | 7.73 | 0.05 | 4.83
Wire & Cable | 98010033600 | 572 | #250MCM Bare STR | 10.67 | 0.06 | 6.67
Wire & Cable | 98010033610 | 573 | #300MCM Bare STR | 8.26 | 0.065 | 5.16
Wire & Cable | 98010033640 | 574 | #500MCM Bare STR | 21.33 | 0.08 | 13.33
Plates & Covers |  | 654 | 1 Gang Switch Plate,Stainless | 2.3 | 0.03 | 1.44
Plates & Covers | 78500727406 | 655 | 1 Gang Switch Plate,Plastic | 0.5 | 0.03 | 0.25
Plates & Covers | 78500727413 | 656 | 2 Gang Switch Plate,Plastic | 0.88 | 0.03 | 0.49
Plates & Covers | 78500727420 | 657 | 3 Gang Switch Plate,Plastic | 1.31 | 0.04 | 0.73
Plates & Covers | 78500727427 | 658 | 4 Gang Switch Plate,Plastic | 1.78 | 0.04 | 0.99
Plates & Covers | 78500727434 | 659 | 5 Gang Switch Plate,Plastic | 17.02 | 0.05 | 10.64
Plates & Covers | 78500727441 | 660 | 6 Gang Switch Plate,Plastic | 19.98 | 0.06 | 12.49
Plates & Covers | 78500727455 | 661 | 1 Gang Receptacle Duplex/Decora Plate,Pl | 0.5 | 0.03 | 0.25
Plates & Covers | 78500727525 | 662 | 2 Gang Receptacle Plate,Plastic | 0.9 | 0.03 | 0.5
Plates & Covers | 78500702506 | 663 | 1 Gang Mid-Sized Plate,Plastic | 0.54 | 0.03 | 0.3
Plates & Covers | 78500702553 | 664 | 2 Gang Mid-Sized Plate,Plastic | 1.12 | 0.03 | 0.62
Plates & Covers | 78500712964 | 665 | 1 Gang Dryer & Recpt Cover,Chrome | 2.43 | 0.03 | 1.52
Plates & Covers | 78500712959 | 666 | 2 Gang Dryer & Recpt Cover,Chrome | 11.49 | 0.035 | 7.18
Plates & Covers | 68785562782 | 667 | 4" 4-11/16 Raised Plaster Ring,5/8"Deep | 4.24 | 0.07 | 2.65
Plates & Covers | 68785577620 | 668 | 4"Raised Plaster Ring,5/8"Deep | 0.9 | 0.05 | 0.5
Plates & Covers | 68785570306 | 669 | 4-11/16"Raised Rec./Switch Cover | 8.06 | 0.05 | 5.04
Plates & Covers | 68785577675 | 670 | 4"sq-1 Device,Raised Plaster Ring | 0.7 | 0.05 | 0.39
Plates & Covers | 68785577715 | 671 | 4"sq-2 Device,Raised Plaster Ring | 0.76 | 0.05 | 0.42
Plates & Covers | 68785577620 | 672 | 4"Sq-4"Round Raised Plaster Ring | 0.9 | 0.05 | 0.5
Plates & Covers | 68785562064 | 673 | 4"sq-Raised Decora & switch cover | 2.83 | 0.05 | 1.77
Plates & Covers | 68785577095 | 674 | Handy Box Switch/Receptacle Cover | 0.5 | 0.03 | 0.28
Plates & Covers | 68785577115 | 675 | Handy Box Blank Cover,Stl | 0.52 | 0.03 | 0.29
Plates & Covers | 78500727476 | 676 | 1 Gang Blank Plate,Plastic | 0.56 | 0.03 | 0.31
Plates & Covers | 78500727496 | 677 | 2 Gang Blank Plate,Plastic | 1.24 | 0.035 | 0.69
Plates & Covers | 68785577455 | 678 | 3"Round Blank Cover,Stl | 1.28 | 0.03 | 0.71
Plates & Covers | 68785577525 | 679 | 4"Round Blank Cover,Stl | 0.47 | 0.05 | 0.26
Plates & Covers | 68785577645 | 680 | 4"Square Blank Cover,Stl | 0.5 | 0.05 | 0.28
Plates & Covers | 68785577760 | 681 | 4 11/16 Blank Cover,Stl | 0.86 | 0.05 | 0.48
Plates & Covers | 5016956521 | 682 | 5"Round Decorator Blank Cover | 9.6 | 0.05 | 6
Plates & Covers | 4226935035 | 683 | 1 Gang Switch Cover,raintite | 8.22 | 0.08 | 5.14
Plates & Covers | 4226935010 | 684 | Rectangle Blank Cover,raintite | 1.53 | 0.05 | 0.85
Plates & Covers | 4226935080 | 685 | 2 Gang Blank Cover,raintite | 19.71 | 0.1 | 12.32
Plates & Covers | 4226935015 | 686 | Rectangle Receptacle Flip Cover,raintite | 5.52 | 0.1 | 3.45
Plates & Covers | 4226935057 | 687 | 2 Gang Receptacle Flip Cover,raintite | 19.71 | 0.1 | 12.32
Plates & Covers | 4226935022 | 688 | GFI Outlet Flip Cover,Metal,raintite | 9.78 | 0.08 | 6.11
Plates & Covers | 3448113174 | 689 | GFI Outlet Cover,PVC,raintite | 8.64 | 0.1 | 5.4
Plates & Covers | 4226971801 | 690 | 4"Round Cover,1 Hole,raintite | 3.65 | 0.1 | 2.28
Plates & Covers | 78599163039 | 691 | Stl Floor Outlet Cover | 108.72 | 0.15 | 67.95
Plates & Covers | 78599163040 | 692 | Bronze Floor Outlet Cover | 115.94 | 0.15 | 72.46
Plates & Covers |  | 693 | 1 Gang Duplex/Decora Cover, Stainless | 2.3 | 0.03 | 1.44
Plates & Covers | 78500712934 | 694 | 2 Gang Duplex Cover, Stainless | 4.82 | 0.03 | 3.01
Plates & Covers | 68785562061 | 695 | 4-11/16 Single Gang Device Raised Plaster | 3.18 | 0.05 | 1.99
Plates & Covers | 68785552307 | 696 | 4-11/16 2 Gang Device Raised Plaster Rin | 3.02 | 0.05 | 1.89
Plates & Covers | 78500712914 | 697 | 1 Gang Blank Cover, Stainless | 2.3 | 0.03 | 1.44
Plates & Covers | 78500712924 | 698 | 2 Gang Blank Cover, Stainless | 11.41 | 0.03 | 7.13
Plates & Covers |  | 699 | DECORA STYLE PLATES
Plates & Covers | 78500712953 | 700 | 2 Gang Switch Plate,Decora SS | 4.62 | 0.03 | 2.89
Plates & Covers | 78500712955 | 701 | 3 Gang Switch Plate,Decora SS | 6.67 | 0.04 | 4.17
Plates & Covers | 78500712956 | 702 | 4 Gang Switch Plate,Decora SS | 9.57 | 0.04 | 5.98
Plates & Covers | 78500713600 | 703 | 5 Gang Switch Plate,Decora SS | 89.52 | 0.05 | 55.95
Plates & Covers | 78500713601 | 704 | 6 Gang Switch Plate,Decora SS | 107.36 | 0.06 | 67.1
Plates & Covers | 78500729030 | 705 | 7 Gang Switch Plate,Decora SS | 103.95 | 0.07 | 64.97
Plates & Covers | 78500729031 | 706 | 8 Gang Switch Plate,Decora SS | 118.83 | 0.08 | 74.27
Plates & Covers | 78500727553 | 708 | 2 Gang Receptacle Plate,Decora plastic | 0.9 | 0.03 | 0.5
Plates & Covers |  | 713 | WEATHERPROOF WHILE-IN-USE COVE
Plates & Covers | 7827513013 | 714 | In-Use-Cvr 1G Heavy duty Metal | 22.82 | 0.08 | 14.26
Plates & Covers | 7827514529 | 715 | In-Use-Cvr 1G Plastic | 10.86 | 0.08 | 6.79
Plates & Covers | 7827513014 | 721 | In-Use-Cvr 2G Heavy Duty Metal | 33.12 | 0.1 | 20.7
Plates & Covers | 7827514535 | 722 | In-Use-Cvr 2G Plastic | 24.85 | 0.1 | 15.53
Plates & Covers | 68785570300 | 729 | Surface 4SQ Cover 1 Gang Duplex | 1.4 | 0.05 | 0.78
Plates & Covers | 68785562062 | 730 | Surface 4SQ Cover Decora 1 Gang | 1.67 | 0.05 | 0.93
Plates & Covers | 68785577470 | 731 | Surface 4SQ Cover Toggle Switch 1 Gang | 1.6 | 0.05 | 0.89
Plates & Covers | 68785577485 | 732 | Surface 4SQ Cover Toggle Switch 2 Gang | 1.6 | 0.06 | 1
Plates & Covers | 68785570302 | 733 | Surface 4 SQ Cover Duplex (quad) 2 Gang | 1.53 | 0.06 | 0.85
Plates & Covers | 68785577510 | 734 | Surface 4 SQ Cover 15-20A 3 Wire Twist L | 0.49 | 0.06 | 0.27
Plates & Covers | 68785577475 | 735 | Surface 4 SQ Cover Single recep | 0.7 | 0.062 | 0.39
Plates & Covers | 68785540427 | 736 | Surface 4 SQ Cover 30A Twist Lock/Single | 4.98 | 0.062 | 3.11
Plates & Covers | 78227422490 | 737 | FS/FD Duplex Cover | 10.96 | 0.03 | 6.85
Plates & Covers | 78227402435 | 738 | FS/FD Decora Cover | 10.96 | 0.03 | 6.85
Plates & Covers | 78227422530 | 739 | FS/FD Switch Cover | 10.96 | 0.03 | 6.85
Plates & Covers | 68785562789 | 740 | 4-11/16 Tile Ring 1-1/2" Single Gang | 9.92 | 0.05 | 6.2
Plates & Covers | 68785562793 | 741 | 4-11/16 Tile Ring 1-1/2" 2 Gang | 10.38 | 0.05 | 6.49
Receptacles | 7847747971 | 751 | 15A GFI Recpt & Cvr,Res Grade | 22.14 | 0.2 | 13.84
Receptacles | 7847749736 | 752 | 20A GFI TR Recpt | 24.21 | 0.25 | 15.13
Receptacles | 78477308161 | 753 | 15A TR Duplex Recpt 5-15R,Res Grade | 1.75 | 0.12 | 0.97
Receptacles | 7847745021 | 754 | 20A TR Duplex Recpt 5-20R,Res Grade | 4.83 | 0.15 | 3.02
Receptacles | 7847779196 | 755 | 15A Clock Hanger Recpt | 13.63 | 0.2 | 8.52
Receptacles | 7847738179 | 756 | 15A TR Single Recpt 5-15R,Res Grade | 7.06 | 0.12 | 4.41
Receptacles | 7847738180 | 757 | 20A TR Single Recpt 5-20R,Res Grade | 3.94 | 0.13 | 2.46
Receptacles | 7847743358 | 758 | 15A TR/WR Duplex Recpt 5-15R,Res Grad | 4.48 | 0.2 | 2.8
Receptacles | 7847738159 | 759 | 15A TR Decora,Duplex Recpt 5-15R | 2.94 | 0.13 | 1.84
Receptacles | 7847745035 | 760 | 20A TR Decora,Duplex Recpt 5-15R | 4.67 | 0.15 | 2.92
Receptacles | 7847738237 | 761 | 15A Decora,Combo Recpt & Switch | 23.04 | 0.2 | 14.4
Receptacles | 78500752515 | 762 | 15A Single Recpt,Comm Grade 5-15R | 5.06 | 0.13 | 3.16
Receptacles | 78500753515 | 763 | 20A Single Recpt,Comm Grade 5-20R | 6.5 | 0.15 | 4.06
Receptacles | 78500711908 | 764 | 15A Duplex Recpt,Comm Grade 5-15R | 2.21 | 0.13 | 1.38
Receptacles | 78500711918 | 765 | 20A Duplex Recpt,Comm Grade 5-20R | 2.21 | 0.15 | 1.38
Receptacles | 7847702991 | 766 | 15A Single Recpt Hosp Grade 5-15R | 20.35 | 0.2 | 12.72
Receptacles | 78500783036 | 767 | 20A Single Recpt Hosp Grade 5-20R | 29.47 | 0.2 | 18.42
Receptacles | 78500786008 | 768 | 15A HD Duplex Recpt Hosp Grade 5-15R | 15.15 | 0.2 | 9.47
Receptacles | 78500786003 | 769 | 20A HD Duplex Recpt Hosp Grade 5-20R | 17.57 | 0.2 | 10.98
Receptacles | 78500782045 | 770 | 15A Isolated Grnd Hosp Grade 5-15R | 44.9 | 0.25 | 28.06
Receptacles | 78500783034 | 771 | 20A Isolated Grnd Hosp Grade 5-20R | 50.3 | 0.25 | 31.44
Receptacles | 6867912334 | 772 | 15A,250V,Single Recpt 6-15R,Res Grade | 4.43 | 0.2 | 2.77
Receptacles | 7847724987 | 773 | 20A,250V,Single Recpt 6-20R,Res Grade | 3.94 | 0.2 | 2.46
Receptacles | 7847777357 | 774 | 15A,250V,Duplex Recpt 6-15R,Res Grade | 5.87 | 0.2 | 3.67
Receptacles | 7847779043 | 775 | 20A,250V,Duplex Recpt 6-20R,Res Grade | 13.98 | 0.2 | 8.74
Receptacles | 78500756625 | 776 | 15A,250V,Duplex Recpt 6-15R,Comm Gra | 32.06 | 0.2 | 20.04
Receptacles | 78500799840 | 777 | 20A,250V,Duplex Recpt 6-20R,Comm Gra | 39.84 | 0.2 | 24.9
Receptacles | 78500756513 | 778 | 15A,250V,Single Recpt 6-15R,Comm Grad | 4.74 | 0.2 | 2.96
Receptacles | 78500758512 | 779 | 20A,250V,Single Recpt 6-20R,Comm Grad | 9.41 | 0.2 | 5.88
Receptacles | 78500779320 | 780 | 3Wire-30A 125/250v,Dryer Recpt | 6.82 | 0.25 | 4.26
Receptacles | 78500779880 | 781 | 4Wire-30A 125/250v,Power Recpt | 8.05 | 0.25 | 5.03
Receptacles | 7847725965 | 782 | 3Wire-30A 125v,Trailer Recpt | 14.59 | 0.25 | 9.12
Receptacles | 78500780720 | 783 | 3Wire-50A 250v,Range Recpt | 6.82 | 0.4 | 4.26
Receptacles | 78500780790 | 784 | 4Wire-50A 125/250v,Power Recpt | 8.05 | 0.4 | 5.03
Receptacles | 78500747100 | 785 | 15A,125V,Lock Single Recpt L5-15R | 14.05 | 0.2 | 8.78
Receptacles | 78500725205 | 786 | 20A,125V,Lock Single Recpt L5-20R | 15.79 | 0.2 | 9.87
Receptacles | 78500725305 | 787 | 30A,125V,Lock Single Recpt L5-30R | 20.02 | 0.2 | 12.51
Receptacles | 78500745600 | 788 | 15A,250V,Lock Single Recpt L6-15R | 23.1 | 0.2 | 14.44
Receptacles | 78500726205 | 789 | 20A,250V,Lock Single Recpt L6-20R | 24.53 | 0.2 | 15.33
Receptacles | 78500726305 | 790 | 30A,250V,Lock Single Recpt L6-30R | 37.5 | 0.2 | 23.44
Receptacles | 7847780932 | 791 | 20A,125/250V,Lock Single Rec L14-20R | 17.58 | 0.25 | 10.99
Receptacles | 7847780961 | 792 | 30A,125/250V,Lock Single Rec L14-30R | 20.02 | 0.25 | 12.51
Receptacles | 7847780934 | 793 | 20A,3p 250V,Lock Single Rec L15-20R | 17.28 | 0.3 | 10.8
Receptacles | 7847780963 | 794 | 30A,3p 250V,Lock Single Rec L15-30R | 27.84 | 0.3 | 17.4
Receptacles | 78358575649 | 795 | 15A,125V Single Recpt Orange Iso Grnd | 25.79 | 0.25 | 16.12
Receptacles | 78358588056 | 796 | 15A,250V Single Recpt Orange Iso Grnd | 22.19 | 0.25 | 13.87
Receptacles | 78500704527 | 797 | 15A,125V Dplx Recpt Orange Iso Grnd | 11.15 | 0.25 | 6.97
Receptacles | 78500704534 | 798 | 20A,125V Dplx Recpt Orange Iso Grnd | 11.25 | 0.25 | 7.03
Receptacles | 78500703650 | 799 | 15A GFI Recpt,Hosp Grade | 35.73 | 0.3 | 22.33
Receptacles | 78500703589 | 800 | 20A GFI Recpt,Hosp Grade | 39.65 | 0.3 | 24.78
Receptacles | 7847768386 | 801 | 15A USB TR Receptacle, Res Grade | 38.24 | 0.3 | 23.9
Receptacles | 78500703610 | 802 | GFCI Outlet WR 20A | 32.45 | 0.3 | 20.28
Receptacles | 78500703592 | 803 | GFCI Commercial Grade 20 A | 23.07 | 0.25 | 14.42
Receptacles | 78500703156 | 804 | USB 20A Receptacle Hospital Grade | 58.14 | 0.3 | 36.34
Receptacles | 78500724165 | 805 | TR Spec 20 A Duplex Receptacle | 5.86 | 0.15 | 3.66
Receptacles | 78500703166 | 806 | Tamper Resistant USB 20 A Duplex Recep | 51.26 | 0.3 | 32.04
Receptacles | 78500703580 | 807 | 20A Dead Front GFCI | 36.05 | 0.25 | 22.53
Receptacles | 78500721023 | 808 | 20A Fed Spec Receptacles 5-20R | 3.17 | 0.25 | 1.98
Receptacles | 78500704537 | 809 | 20A Isolated Ground Duplex Receptacle | 11.25 | 0.3 | 7.03
Receptacles | 78500703527 | 810 | 20A Heavy-Duty Hospital Grade TR Duplex | 16.08 | 0.25 | 10.05
Receptacles | 78500703594 | 811 | 20A Heavy-Duty Hosp Grade GFCI TR Rec | 40.88 | 0.3 | 25.55
Receptacles | 78500752819 | 812 | Industrial Grade 20A Duplex Receptacle 5- | 9.46 | 0.25 | 5.91
Receptacles | 78500703587 | 813 | 20A Spec Grade GFCI TR Receptacle | 27.81 | 0.25 | 17.38
Receptacles | 78500727305 | 814 | 30A, 277V, Lock Single Rec L7-30R | 78.22 | 0.3 | 48.89
Receptacles | 78500726802 | 815 | Industrial Grade TR Spec 20A Duplex Rece | 34.78 | 0.3 | 21.74
Receptacles | 78500727205 | 816 | 20A, 277V, Lock Single Rec L7-20R | 24.53 | 0.3 | 15.33
Receptacles | 78500776210 | 817 | 20A,277V,Single Recpt 7-20R,Comm Grad | 26.34 | 0.2 | 16.46
Receptacles | 7847724440 | 818 | 15A,277V,Duplex Recpt 7-15R,Comm Gra | 17.89 | 0.2 | 11.18
Receptacles | 78500724381 | 819 | 20A Fed Spec Receptacles TR 5-20R | 13.34 | 0.25 | 8.34
Receptacles | 78500753625 | 820 | 20A Duplex Recpt, Hard Use Spec Grade 5 | 3.9 | 0.15 | 2.44
Switches | 7847782793 | 903 | 15A SPST Illuminated Switch,Residential G | 4.46 | 0.1 | 2.79
Switches | 7847777820 | 904 | 15A SPST Switch w/grnd,Resident Grade | 1.01 | 0.12 | 0.56
Switches | 7847722648 | 905 | Combo 2-SPST Stack Switch | 7.46 | 0.2 | 4.66
Switches | 7847722930 | 906 | Combo SPST/3-Way Stack Switch | 11.82 | 0.25 | 7.39
Switches
Switches
Switches
Switches
Switches
Switches
Switches
Switches
Switches
Switches
Switches
Switches
Switches
Switches
Switches
Switches
Switches
Switches
Switches
Switches
Switches
Switches

## Assembly Catalog
Category | UPC | Assembly ID# | DESCRIPTION | RETAIL | HRS | COST
Lighting | Dimmed Lighting Whip

## Lists
Category | Category Part/Assmebly Suffix #
1Boxes & Enclosures
1Contactors
1Control Devices
1Explosion Proof Fittings
1FD Boxes?
1Fuses thru 240V
1Fuses thru 600V
1Plates & Covers
1Push Buttons
1Safety Switches thru 240V
1Safety Switches thru 600V
1Switches
1Trenching
1Wire & Cable
Breakers - Challenger - Bolt-on Breakers
Breakers - Challenger - Industrial Breakers
Breakers - Cutler Hammer - Bolt-on
Breakers - Cutler Hammer - Industrial
Breakers - GE - Bolt-on Breakers
Breakers - GE - Industrial Breakers
Breakers - ITE - Bolt-on Breakers
Breakers - ITE - Industrial Breakers
Breakers - Plug-In Circuit Breakers
Breakers - SQR D - Bolt-on Breakers
Breakers - SQR D - Industrial Breakers
Fire Alarm - Bells
Fire Alarm - Buzzers
Fire Alarm - Fire Alarm
Fire Alarm - Horns Sirens & Chimes
Lighitng - Lamps & Parts
Lighting - Controls
Lighting - Fixtures
Miscellaneous - Devices
Miscellaneous - Hardware
Motor Starters 240V/600V
Power - Load Centers
Power - Meters
Power - Panelboards
Power - Receptacles
Power - Switch Gear
Power - Transormers
Raceway - Aluminium Conduit & Fittings
Raceway - Cable Tray
Raceway - EMT Conduits & Fittings
Raceway - Flex Conduit & Fittings
Raceway - Metallic Flex Fittings?
Raceway - PVC Coated Rigid & Fittings
Raceway - PVC Conduit & Fittings
Raceway - Rigid Conduit & Fittings
Raceway - Wiremold & Wireway